ADDENDUM #1

QUESTIONS AND ANSWERS

Q: We would like to make a site visit before making an offer.  Should this be coordinated with a County representative (if so, please advise)?

A: The site is accessible to the public.  It is not necessary to coordinate with the Staff.  Staff will not be able to attend a site visit.

Q: Is the historical sign the same as the historical marker (shown in Exhibit A)?

A: Yes.

Q: The solicitation calls for "Sign base - excavated, level subgrade, poured concrete footer sized per site conditions/soil as determined by an engineer and local code requirements, incorporating rebar for strength and crack control."  Please confirm that the awarded contractor should include engineering costs associated with this task.

A: Yes.

Q: The solicitation states "CMU block core with vertical reinforcement (rebar) tied into the footer and cells filled/grouted."  Please confirm that 6" blocks are called for.

A: That decision would be based on the engineered drawing.  It is anticipated that the CMU block would be 6-inch, but the Engineer should specify the size in the plan.

Q: The solicitation states "Exterior finished with the red brick/tabby veneer and cap detail." Are we correct in saying that the 'red brick' refers to the darker reddish band shown on the rectangular base and that a commercially available tabby veneer can be used?  Can you also please clarify what is called for with the "cap detail"?

A: The base is a traditional red brick, complete with a sill detail at the top of the base to transition into the Tabby.  Tabby should be similar to other Tabby structures on site at the park and the region.  No specific product or method has been specified.  It is a veneer only with the substructure being the CMU block.  The cap detail is simply trying to establish a “bell curve” shaped top edge of the Tabby portion.

Q: Can you clarify what finish (other than lettering) is called for on the surface of the marker (resting on the rectangular base)?  Is a different finish being called for on the very top?

A: Tabby should be similar to other Tabby structures on site at the park and the region.  No specific product or method has been specified.  It is a veneer only with the substructure being the CMU block.  The cap detail is simply trying to establish a “bell curve” shaped top edge of the Tabby portion.  There is no additional relief or finish to the top cap.

Q: Please confirm that "Lettering is 1 ½-in and 3-in high made of ½-in FCO aluminum (two sided)" means (a) the same signage is to be applied to both sides of the marker and (b) the way the letters are affixed to the marker is left to the discretion of the contractor.

A: a) Yes.  b) Yes. We assumed the letter would be affixed mechanically, not adhesive only.